# Stop gates

# Stop gate system for 3-sided blocking of building openings

* 3-sided U-shaped frame with seals already mounted. Bottom waterproofing directly on concrete.
* Design of the material thickness of the frame and panel according to static requirements

-Includes 2 pressure devices for each frame (min. 100 mm)

* Including stainless steel fastening material approved by the building authorities,
* Better leakage rate than required according to DIN 19569 Part 4, Class 1
* All seals already installed

A valid welding certificate of at least execution class EXC3 according to DIN EN 1090-2 from the penstock manufacturer must be attached to the offer.

**Frame material:** 1.4301 / 1.4404 (Please delete as applicable)

**Material board:** 1.4301 / 1.4404 / (Please delete as applicable)

**Size of stop gate profile** (Please delete as applicable)

* \_\_\_\_\_ x \_\_\_\_\_ mm

**Sealing material:** EPDM / NBR

**Frame Mounting:** (Please delete as applicable)

* Concreting in a recess in a building
* Anchoring in a channel
* Doweling in front of a building opening

Channel Width (m):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Max. accumulation height (m):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Channel Depth:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Delivery and install:**

* Includes manual lifting tool (please delete as applicable)
* Semi-automatic lifting tool included

**BÜSCH Stop gate**

or equivalent

**Manufacturer:**

BÜSCH Armaturen Geyer GmbH

Industriestraße 1

09468 Geyer

Deutschland

[**www.buesch.com**](http://www.buesch.com/)

Amount ........ EUR/Piece ......... EUR/Pos. .........